## Thickness
2025 | [74 empty] | OBSTRUCTION
|  | TUBES NUMBERED LEFT TO RIGHT FACING WALL. THICKNESS MEASUREMENTS ARE IN INCHES. | [72 empty] | ORIENTATION
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A | FRONT WALL | L | [69 empty] | 0.23748 | 0.203
0.083 | 6 IN SCAN | C | 0.323 | 0.218 | 0.219 | 0.224 | 0.218 | 0.213 | 0.219 | 0.227 | 0.229 | 0.219 | 0.227 | 0.226 | 0.22 | 0.225 | 0.232 | 0.268 | 0.339 | 0.331 | 0.268 | 0.22 | 0.222 | 0.227 | 0.225 | 0.224 | 0.225 | 0.218 | 0.229 | 0.231 | 0.219 | 0.228 | 0.228 | 0.226 | 0.223 | 0.213 | 0.224 | 0.229 | 0.239 | 0.217 | 0.223 | 0.231 | 0.232 | 0.233 | 0.227 | 0.224 | 0.268 | 0.337 | 0.331 | 0.264 | 0.228 | 0.225 | 0.224 | 0.228 | 0.219 | 0.229 | 0.234 | 0.235 | 0.229 | 0.203 | 0.226 | 0.224 | 0.223 | 0.222 | 0.33 | [6 empty] | 0.23748 | 0.203
| ABOVE STUD LINE | R | [69 empty] | 0.22851 | 0.217
A | LEFT WALL | L | [69 empty] | 0.22851 | 0.217
0.083 | 6 IN SCAN | C | 0.221 | 0.218 | 0.229 | 0.227 | 0.222 | 0.274 | 0.27 | 0.266 | 0.268 | 0.265 | 0.266 | 0.225 | 0.229 | 0.226 | 0.222 | 0.229 | 0.224 | 0.227 | 0.224 | 0.227 | 0.228 | 0.224 | 0.222 | 0.217 | 0.222 | 0.217 | 0.226 | 0.229 | 0.226 | 0.225 | 0.223 | 0.224 | 0.228 | 0.224 | 0.221 | 0.224 | 0.232 | 0.232 | 0.226 | 0.219 | 0.232 | 0.227 | 0.225 | 0.227 | 0.228 | 0.222 | 0.222 | 0.222 | 0.227 | 0.225 | 0.226 | 0.231 | 0.223 | 0.227 | 0.226 | 0.222 | 0.222 | 0.227 | 0.226 | 0.227 | 0.228 | 0.223 | 0.227 | 0.223 | 0.219 | 0.223 | 0.224 | 0.219 | 0.219 | 0.22851 | 0.217
| ABOVE STUD LINE | R | [69 empty] | 0.22073 | 0.214
A | REAR WALL | L | [69 empty] | 0.22073 | 0.214
0.083 | 6 IN SCAN | C | 0.223 | 0.221 | 0.215 | 0.225 | 0.219 | 0.224 | 0.217 | 0.219 | 0.222 | 0.225 | 0.22 | 0.216 | 0.219 | 0.226 | 0.224 | 0.219 | 0.22 | 0.23 | 0.22 | 0.214 | 0.226 | 0.223 | 0.221 | 0.228 | 0.222 | 0.226 | 0.224 | 0.216 | 0.223 | 0.222 | 0.22 | 0.224 | 0.219 | 0.224 | 0.225 | 0.218 | 0.215 | 0.218 | 0.215 | 0.217 | 0.22 | 0.215 | 0.217 | 0.22 | 0.22 | 0.215 | 0.221 | 0.224 | 0.224 | 0.222 | 0.219 | 0.218 | 0.223 | 0.218 | 0.219 | 0.219 | 0.218 | 0.218 | 0.218 | 0.222 | 0.227 | 0.224 | [7 empty] | 0.22073 | 0.214
| ABOVE STUD LINE | R | [69 empty] | 0.22729 | 0.211
A | RIGHT WALL | L | [69 empty] | 0.22729 | 0.211
0.083 | 6 IN SCAN | C | 0.223 | 0.222 | 0.222 | 0.23 | 0.216 | 0.219 | 0.221 | 0.219 | 0.222 | 0.224 | 0.221 | 0.217 | 0.33 | 0.224 | 0.222 | 0.217 | 0.217 | 0.224 | 0.22 | 0.219 | 0.227 | 0.23 | 0.221 | 0.22 | 0.223 | 0.234 | 0.223 | 0.222 | 0.221 | 0.218 | 0.222 | 0.219 | 0.222 | 0.221 | 0.214 | 0.215 | 0.211 | 0.225 | 0.219 | 0.227 | 0.218 | 0.218 | 0.213 | 0.222 | 0.223 | 0.214 | 0.215 | 0.319 | 0.321 | 0.222 | 0.221 | 0.22 | 0.229 | 0.224 | 0.217 | 0.225 | 0.226 | 0.226 | 0.219 | 0.211 | 0.226 | 0.221 | 0.221 | 0.224 | 0.261 | 0.265 | 0.223 | 0.216 | 0.26 | 17.6136 | 0.211
| ABOVE STUD LINE | R | [69 empty] | 35 | 1
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A |  |  | 10: OUTSIDE DIAMETER:; 23: 3; 30: INSPECTION RESULTS; 67: APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com |  |  | INTERNATIONAL PAPER
LEGEND |  |  | 10: TUBE MATERIAL:; 23: SA-210 A1; 30: 0.339; 35: MAX. THICKNESS |  |  | RIVERDALE MILL
|  |  | 10: NOMINAL WALL:; 23: 0.203; 30: 0.228; 35: AVG. THICKNESS |  |  | TUBE WALL THICKNESS SURVEY
|  |  | 10: ASME MIN:; 23: 0.083; 30: 0.203; 35: MIN. THICKNESS |  |  | NO. 1 RECOVERY BOILER
|  |  | 10: MILL FLAG:; 23: 0.1; 30: 0.021744; 35: STD DEV.; 46: Job # H449364 P.O. # 0018342455 W.O. # N/A Date: 5/05/2025 |  |  | 99 ABOVE STUD LINE
THICKNESS
APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com
APPLIED TECHNICAL SERVICES 1325-B Cavalier Boulevard Chesapeake, Virginia 23323 (757) 558-0016 Fax (757) 558-0063 www.atslab.com
APPLIED TECHNICAL SERVICES 2312 Commerce Ctr. Dr., Suite A Rockville, Virginia 23146 (804) 550-7610 Fax (804) 550-7611 www.atslab.com

## Corrosion (hidden)
2025 | [74 empty] | OBSTRUCTION
|  | TUBES NUMBERED LEFT TO RIGHT FACING WALL. CORROSION RATE MEASUREMENTS ARE IN MILS. | [72 empty] | ORIENTATION
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A | FRONT WALL | L | [69 empty] | 0 | 0
| 6 IN SCAN | C | [69 empty] | 0 | 0
| ABOVE STUD LINE | R | [69 empty] | 0 | 0
A | LEFT WALL | L | [69 empty] | 0 | 0
| 6 IN SCAN | C | [69 empty] | 0 | 0
| ABOVE STUD LINE | R | [69 empty] | 0 | 0
A | REAR WALL | L | [69 empty] | 0 | 0
| 6 IN SCAN | C | [69 empty] | 0 | 0
| ABOVE STUD LINE | R | [69 empty] | 0 | 0
A | RIGHT WALL | L | [69 empty] | 0 | 0
| 6 IN SCAN | C | [69 empty] | 35 | 1
| ABOVE STUD LINE | R | [69 empty] | 35 | 1
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
| CORROSION RATE (mpy): |  | 10: NOTE: CORROSION RATES ARE BASED ON COMPARISON OF; 30: TEST RESULTS; 67: APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com |  |  | INTERNATIONAL PAPER
LEGEND | < 0 mpy (LOSS) or no data |  | 30: OVERALL CORROSION RATE (mils per year): |  |  | RIVERDALE MILL
| 0-10 mpy (LOSS) |  | 10: 2012, 2013, 2014, 2016 |  |  | CALCULATED CORROSION RATE
| 10-20 mpy (LOSS) |  | 10: INSPECTION DATA; 30: 0.2 |  |  | NO. 1 RECOVERY BOILER
| > 20 mpy (LOSS) |  | 10: ND; 15: NO COMPARISON DATA; 46: Job # H449364 P.O. # 0018342455 W.O. # N/A Date: 5/05/2025 |  |  | 99 ABOVE STUD LINE
CORROSION
APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com
APPLIED TECHNICAL SERVICES 1325-B Cavalier Boulevard Chesapeake, Virginia 23323 (757) 558-0016 Fax (757) 558-0063 www.atslab.com
APPLIED TECHNICAL SERVICES 2312 Commerce Ctr. Dr., Suite A Rockville, Virginia 23146 (804) 550-7610 Fax (804) 550-7611 www.atslab.com

## Projection (hidden)
2025 | [74 empty] | OBSTRUCTION
|  | TUBES NUMBERED LEFT TO RIGHT FACING WALL. PROJECTED THICKNESS MEASUREMENTS ARE IN INCHES. | [72 empty] | ORIENTATION
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A | FRONT WALL | L | [69 empty] | 0 | 0
0.083 | 6 IN SCAN | C | [69 empty] | 0 | 0
| ABOVE STUD LINE | R | [69 empty] | 0 | 0
A | LEFT WALL | L | [69 empty] | 0 | 0
0.083 | 6 IN SCAN | C | [69 empty] | 0 | 0
| ABOVE STUD LINE | R | [69 empty] | 0 | 0
A | REAR WALL | L | [69 empty] | 0 | 0
0.083 | 6 IN SCAN | C | [69 empty] | 0 | 0
| ABOVE STUD LINE | R | [69 empty] | 0 | 0
A | RIGHT WALL | L | [69 empty] | 0 | 0
0.083 | 6 IN SCAN | C | [69 empty] | 35 | 1
| ABOVE STUD LINE | R | [69 empty] | 35 | 1
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A |  |  | 10: OUTSIDE DIAMETER:; 23: 3; 30: FUTURE PROJECTION; 67: APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com |  |  | INTERNATIONAL PAPER
LEGEND |  |  | 10: TUBE MATERIAL:; 23: SA-210 A1; 30: 0; 35: MAX. THICKNESS |  |  | RIVERDALE MILL
|  |  | 10: NOMINAL WALL:; 23: 0.203; 30: #DIV/0!; 35: AVG. THICKNESS |  |  | PROJECTED TUBE WALL THICKNESS - 5 YEARS
|  |  | 10: ASME MIN:; 23: 0.083; 30: 0; 35: MIN. THICKNESS |  |  | NO. 1 RECOVERY BOILER
|  |  | 10: MILL FLAG:; 23: 0.1; 30: #DIV/0!; 35: STD DEV.; 46: Job # H449364 P.O. # 0018342455 W.O. # N/A Date: 5/05/2025 |  |  | 99 ABOVE STUD LINE
PROJECTION
APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com
APPLIED TECHNICAL SERVICES 1325-B Cavalier Boulevard Chesapeake, Virginia 23323 (757) 558-0016 Fax (757) 558-0063 www.atslab.com
APPLIED TECHNICAL SERVICES 2312 Commerce Ctr. Dr., Suite A Rockville, Virginia 23146 (804) 550-7610 Fax (804) 550-7611 www.atslab.com

## Retirement (hidden)
2025 | [72 empty] | OBSTRUCTION
|  | TUBES NUMBERED LEFT TO RIGHT FACING WALL. | [70 empty] | ORIENTATION
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69
A | FRONT WALL | Year
6 IN SCAN
ABOVE STUD LINE
A | LEFT WALL | Year
6 IN SCAN
ABOVE STUD LINE
A | REAR WALL | Year
6 IN SCAN
ABOVE STUD LINE
A | RIGHT WALL | Year
6 IN SCAN
ABOVE STUD LINE
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69
| PROJECTED TO REACH TMIN: |  | 10: NOTE: CORROSION RATE IS BASED ON COMPARISON OF; 30: EARLIEST DATE OF PROJECTED RETIREMENT:; 67: APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com | INTERNATIONAL PAPER
LEGEND | + 5 YEARS (or no data) | [70 empty] | RIVERDALE MILL
| WITHIN 5 YEARS |  | 10: 2012, 2013, 2014, 2016 | PROJECTED TUBE RETIREMENT DATE
| WITHIN 3 YEARS |  | 10: INSPECTION DATA; 30: 2021-02-01 | NO. 1 RECOVERY BOILER
| WITHIN 1 YEAR |  | 10: ND; 15: NO COMPARISON DATA; 46: Job # H449364 P.O. # 0018342455 W.O. # N/A Date: 5/05/2025 | 99 ABOVE STUD LINE
RETIREMENT
APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com
APPLIED TECHNICAL SERVICES 1325-B Cavalier Boulevard Chesapeake, Virginia 23323 (757) 558-0016 Fax (757) 558-0063 www.atslab.com
APPLIED TECHNICAL SERVICES 2312 Commerce Ctr. Dr., Suite A Rockville, Virginia 23146 (804) 550-7610 Fax (804) 550-7611 www.atslab.com

## Low (hidden)
2025 | [74 empty] | OBSTRUCTION
|  | TUBES NUMBERED LEFT TO RIGHT FACING WALL. LOW THICKNESS MEASUREMENTS ARE IN INCHES. | [72 empty] | ORIENTATION
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A | FRONT WALL | LOWEST | 0.323 | 0.218 | 0.219 | 0.224 | 0.218 | 0.213 | 0.219 | 0.227 | 0.229 | 0.219 | 0.227 | 0.226 | 0.22 | 0.225 | 0.232 | 0.268 | 0.339 | 0.331 | 0.268 | 0.22 | 0.222 | 0.227 | 0.225 | 0.224 | 0.225 | 0.218 | 0.229 | 0.231 | 0.219 | 0.228 | 0.228 | 0.226 | 0.223 | 0.213 | 0.224 | 0.229 | 0.239 | 0.217 | 0.223 | 0.231 | 0.232 | 0.233 | 0.227 | 0.224 | 0.268 | 0.337 | 0.331 | 0.264 | 0.228 | 0.225 | 0.224 | 0.228 | 0.219 | 0.229 | 0.234 | 0.235 | 0.229 | 0.203 | 0.226 | 0.224 | 0.223 | 0.222 | 0.33 | [6 empty] | 0.23748 | 0.203
0.083 | 6 IN SCAN | [70 empty] | 0.22851 | 0.217
| ABOVE STUD LINE | [70 empty] | 0.22851 | 0.217
A | LEFT WALL | LOWEST | 0.221 | 0.218 | 0.229 | 0.227 | 0.222 | 0.274 | 0.27 | 0.266 | 0.268 | 0.265 | 0.266 | 0.225 | 0.229 | 0.226 | 0.222 | 0.229 | 0.224 | 0.227 | 0.224 | 0.227 | 0.228 | 0.224 | 0.222 | 0.217 | 0.222 | 0.217 | 0.226 | 0.229 | 0.226 | 0.225 | 0.223 | 0.224 | 0.228 | 0.224 | 0.221 | 0.224 | 0.232 | 0.232 | 0.226 | 0.219 | 0.232 | 0.227 | 0.225 | 0.227 | 0.228 | 0.222 | 0.222 | 0.222 | 0.227 | 0.225 | 0.226 | 0.231 | 0.223 | 0.227 | 0.226 | 0.222 | 0.222 | 0.227 | 0.226 | 0.227 | 0.228 | 0.223 | 0.227 | 0.223 | 0.219 | 0.223 | 0.224 | 0.219 | 0.219 | 0.22851 | 0.217
0.083 | 6 IN SCAN | [70 empty] | 0.22073 | 0.214
| ABOVE STUD LINE | [70 empty] | 0.22073 | 0.214
A | REAR WALL | LOWEST | 0.223 | 0.221 | 0.215 | 0.225 | 0.219 | 0.224 | 0.217 | 0.219 | 0.222 | 0.225 | 0.22 | 0.216 | 0.219 | 0.226 | 0.224 | 0.219 | 0.22 | 0.23 | 0.22 | 0.214 | 0.226 | 0.223 | 0.221 | 0.228 | 0.222 | 0.226 | 0.224 | 0.216 | 0.223 | 0.222 | 0.22 | 0.224 | 0.219 | 0.224 | 0.225 | 0.218 | 0.215 | 0.218 | 0.215 | 0.217 | 0.22 | 0.215 | 0.217 | 0.22 | 0.22 | 0.215 | 0.221 | 0.224 | 0.224 | 0.222 | 0.219 | 0.218 | 0.223 | 0.218 | 0.219 | 0.219 | 0.218 | 0.218 | 0.218 | 0.222 | 0.227 | 0.224 | [7 empty] | 0.22073 | 0.214
0.083 | 6 IN SCAN | [70 empty] | 0.22729 | 0.211
| ABOVE STUD LINE | [70 empty] | 0.22729 | 0.211
A | RIGHT WALL | LOWEST | 0.223 | 0.222 | 0.222 | 0.23 | 0.216 | 0.219 | 0.221 | 0.219 | 0.222 | 0.224 | 0.221 | 0.217 | 0.33 | 0.224 | 0.222 | 0.217 | 0.217 | 0.224 | 0.22 | 0.219 | 0.227 | 0.23 | 0.221 | 0.22 | 0.223 | 0.234 | 0.223 | 0.222 | 0.221 | 0.218 | 0.222 | 0.219 | 0.222 | 0.221 | 0.214 | 0.215 | 0.211 | 0.225 | 0.219 | 0.227 | 0.218 | 0.218 | 0.213 | 0.222 | 0.223 | 0.214 | 0.215 | 0.319 | 0.321 | 0.222 | 0.221 | 0.22 | 0.229 | 0.224 | 0.217 | 0.225 | 0.226 | 0.226 | 0.219 | 0.211 | 0.226 | 0.221 | 0.221 | 0.224 | 0.261 | 0.265 | 0.223 | 0.216 | 0.26 | 0.22729 | 0.211
0.083 | 6 IN SCAN | [70 empty] | 35 | 1
| ABOVE STUD LINE | [70 empty] | 35 | 1
ELEVATION |  | LOC | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | AVG | MIN
A |  |  | 10: OUTSIDE DIAMETER:; 23: 3; 30: INSPECTION RESULTS; 67: APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com |  |  | INTERNATIONAL PAPER
LEGEND |  |  | 10: TUBE MATERIAL:; 23: SA-210 A1; 30: 0.339; 35: MAX. THICKNESS |  |  | RIVERDALE MILL
|  |  | 10: NOMINAL WALL:; 23: 0.203; 30: 0.228; 35: AVG. THICKNESS |  |  | TUBE WALL THICKNESS SURVEY (LOW VALUE)
|  |  | 10: ASME MIN:; 23: 0.083; 30: 0.203; 35: MIN. THICKNESS |  |  | NO. 1 RECOVERY BOILER
|  |  | 10: MILL FLAG:; 23: 0.1; 30: 0.021744; 35: STD DEV.; 46: Job # H449364 P.O. # 0018342455 W.O. # N/A Date: 5/05/2025 |  |  | 99 ABOVE STUD LINE
LOW THICKNESS
APPLIED TECHNICAL SERVICES 1049 Triad Court Marietta, Georgia 30062 Office # (770) 423-1400 Fax # (770) 514-3299 www.atslab.com
APPLIED TECHNICAL SERVICES 1325-B Cavalier Boulevard Chesapeake, Virginia 23323 (757) 558-0016 Fax (757) 558-0063 www.atslab.com
APPLIED TECHNICAL SERVICES 2312 Commerce Ctr. Dr., Suite A Rockville, Virginia 23146 (804) 550-7610 Fax (804) 550-7611 www.atslab.com